## Slide 1: Testing BME680 sensor for air quality seminar work Authors: Metodija Bucevski, Jernej Koželj
14.5.2021

## Slide 2: Introduction
BME680 is an environmental digital sensor.
Great for indoor air quality control.
Temperature, humidity, air pressure and gases.

## Slide 3: BME680 Gas sensor
Can detect VOCs in the air.
VOC (Volatile organic compounds).
Gives qualitative idea of VOCs in the air.

## Slide 4: Air Quality Index

## Slide 5: Result interpretation

## Slide 6: Possible improvements
•Assume relevant data to be 24h (sufficient 20 min.) after starting the measuring.
•Gas baseline:
–Longer time period
–Specific room conditions
–Shifting baseline to a new level
•Smoothing short spikes in readings.

## Slide 7: Experiments
Testing the sensor for air quality.
Using the I2C protocol for communication.
Using Wi-Fi communication for data transfer to MQTT broker.
Lighting the LED if air quality above/below threshold.

## Slide 8: Experiments
Tested the sensor in three different rooms.
Living room had the highest AQI.
Office had pretty good AQI, slightly better than living room and a bit worse than bedroom.

## Slide 9: Experiments
Bedroom was the best because of ventilation.
In the last picture we gently blew on the sensor, so that is the spike.

## Slide 10: Conclusions
Problems with Eclipse...,
BME680 makes a good air quality indicator for home use,
We should make more effort to regularly check the AQI indoors.

## Slide 11
Thank you for your time.